## Slide 1: Machine learning applications for Small Angle X-ray Scattering data collection and analysis at EMBL-Hamburg
D. Franke, C.M. Jeffries, D. Molodenskiy, A.G. Kikhney, D.I. Svergun

## Slide 2: Small Angle X-Ray Scattering
SASBDB: SASDAM5
Notes: If it where this simple, we wouldn’t be here …

## Slide 3: Parameters of Interest for Biological SAXS
Radius of Gyration (Rg)
Maximum extent/dimension (Dmax)
Molecular Weight (MW) and oligomeric state
Rough shape
… and more …
Analysis methods exist, but are involved and can be intimidating for novice users, mistakes are easily made
Experts are able to predict properties of a system from a quick glance at the scattering pattern

## Slide 4: Supervised Machine Learning
Simulate data with known parameters of interest
Define features and labels
Train a supervised learner
… success?
Notes: First self driving cars in 2010, IBM Watson plays Jeopardy in 2011, AlphaGo in 2016, Tensorflow 1.0 Feb. 2017, this work: largely done in 2014/1015

## Slide 5: Generating Training Data and Labels
BODIES (Konarev et al., 2003), EOM (Tria et al., 2015)
compact
extended
flat
ring
compact-hollow
hollow sphere
random chain
compact
~500.000 data sets
and associated labels

## Slide 6: Data Transformation and Feature Extraction
Dimensionless Kratky Plot (Durand et al., 2010):
Apparent Volume V’=2p/Q’ (Fischer et al., 2010) Integrate Q’ up to qRg=3,4,5:

## Slide 7: Source Data in V’
~500.000 data points
and associated labels
Not shown: random grid of unknowns
Note: no data augmentation applied

## Slide 8: Learning: k Nearest Neighbours
Cross Validated Learning:
randomly split data, learn one part, look up the other
?

## Slide 9: Cross Validated Performance
F1 | .99 | .95 | .97 | .95 | .98 | .91 | .99 | .96
MCC | .99 | .94 | .95 | .94 | .98 | .91 | .99 | .96
F1: Measure of test accuracy
MCC: Matthew’s Correlation Coefficient Range: 0.0 – 1.0 Bigger Is Better!
?
Powers, Journal of Machine Learning (2011)
Notes: Precision:

## Slide 10: Application to the PDB
2MII
#
48
85.904
3.413
4.266
55
25.442
109
551
119.740*
?
Total
3A68
3H3W
1V18
12AS
* CRYSOL; minimum 50 amino acids, no nucleotides, connected

## Slide 11: Application to Experimental Data
#
8*
85
55
66
0
10
0
33
257
?
Total
* not shown: wrong file format: 2; insufficient data: 6
SASDA37
SASDAB6
SASDA27
SASDAB5

## Slide 12: PDB as Data Source
#
48
85.904
3.413
4.266
55
25.442
109
551
119.740*
?
Total
3A68
3H3W
1V18
12AS
* CRYSOL; minimum 50 amino acids, no nucleotides, connected

## Slide 13: Results of Weighted kNN

## Slide 14: Availability
Included as DATCLASS in ATSAS-3.0.0 (Franke et al., 2017).
https://www.embl-hamburg.de/biosaxs/software.html
Included in automated data analysis pipeline SASFLOW at BioSAXS beamline P12.

## Slide 15: Poster
https://dara.embl-hamburg.de/gnnom.php
Al Kikhney
Dima Molodenskiy

## Slide 16: Thanks