## Slide 1: Towards automated analysis of neutron reflectivity data
Daniil Mironov, Rebecca Mackenzie, Jos Cooper
Predicting scattering length density and depth of "polymer" samples

## Slide 2
Outline
Neutron reflectivity
Current practices
Results
Conclusions
Applying machine learning

## Slide 3
Different angles and wavelengths give different reflectivities:
The same is true for neutrons. However ...
Neutron Reflectivity

## Slide 4: Neutrons can see into everything

## Slide 5: Thin Films
Substrate
Film 1
Film 2

## Slide 6: Reflect Neutrons

## Slide 7: Thickness
t1
t2

## Slide 8: Density
ρ1
ρ2

## Slide 9: Interfacial Roughness
R1
R2
R3

## Slide 10
Instrument
Raw Data
Reduced Data
Data in Analysis
Software
Model
Current Practices
Data Reduction
Fit Model to Data

## Slide 11
Automate everything from output of reduced data into the analysis software
Not final fitting to the model
  Too hard to get “details”
On experiment analysis, and lower barrier to entry
Aims

## Slide 12
Simulating Si/air experiment with GenX; one- and two-layer samples, to a .h5 file:
  Training: 40,000
  Validation: 20,000
  Test: 20,000
Data
1st Layer Depth | 1st Layer SLD | 2nd Layer Depth | 2nd Layer SLD
t1 | SLD1 | t2 | SLD2

## Slide 13
Random forest
  Overfits quickly, no learning
Applying Machine Learning

## Slide 14
Random forest
  Overfits quickly, no learning
Applying Machine Learning
Deep neural network (DNN)
  Limited input representations

## Slide 15
Random forest
  Overfits quickly, no learning
Applying Machine Learning
Deep neural network (DNN)
  Limited to 1-D inputs
  Interpolated across to fixed Q range, with fixed number of points

## Slide 16
Random forest
  Overfits quickly, no learning
Applying Machine Learning
Deep neural network (DNN)
  Limited input representations
Convolutional neural network (CNN)
  Large, not typically used for regression tasks

## Slide 17
CNN
  N x 2
    Explicit Q
    Smaller (300, 2)
  N x N
    Images of curves
    Implicit Q
    Large (300, 300, 1)

## Slide 18
Take 300 X,Y coordinates.
Array of shape (300, 2)
"Raw" to CNN
In simulated data, all interpolated to same X
Array of shape (300, 1)
"Interpolated" to DNN
Array of shape (300, 300, 1)
"Image" to CNN

## Slide 19
Samples with low depth, or SLD are harder to predict.
1 Layer Results

## Slide 20
CNN
DNN
"Interpolated" training results
DNN with (300, 1) input, 11 layers
"Interp": 0.0125
MSE
Layer 1
Layer 2
Depth
SLD

## Slide 21
CNN
DNN
"Raw" training results
CNN with (300, 2) input
"Interp": 0.0125
"Raw": 0.0423
MSE

## Slide 22
CNN
DNN
"Image" training results
CNN with (300, 300, 1) input, 4 Conv. Layers + DNN
"Interp": 0.0125
"Raw": 0.0423
"Image": 0.0225
MSE

## Slide 23
CNN
DNN
Results
DNN performs the best BUT…
  Will struggle with interpolating over values which don’t exist (in real data)
  Not so generalizable e.g. multi contrast data, uncertainties?
An image is easier to use, and can be plotted onto the same axis regardless of the experiment length/ X values
Hence we proceed with "image" CNN, and improve upon it
  Training for longer?
  Training for depth and SLD separately?

## Slide 24
CNN
DNN
Lowering the learning rate and training for more epochs
Significant amount of overfitting, but validation performance is still better (0.015 < 0.020) from previous effort
This is without any regularisation

## Slide 25
Training Testing

## Slide 26
CNN
DNN
Dropout 0.25, learning rate 0.001
Dropout 0.1, learning rate 0.001
Better, but validation higher than training – dropout too high?
Overfitting has decreased

## Slide 27
Training Testing

## Slide 28
CNN
DNN
What if we add noise?
So far we have trained on, and tested on, perfect data.
Can our model still predict if we test on noisy data?

## Slide 29
Val 0
No noise applied
Val 100
Noise const. = 100
Val 1000
Noise const. = 1000
Val 10000
Noise const. = 10000

## Slide 30
Val 100 data

## Slide 31
Having tried random forest, DNN, and “raw” CNN, we decided on an “image” CNN
We can suggest values pertinent to the sample for one- to two-layer samples
  MSE does not indicate end point utility of result
Addition of noise to test set reduces performance, so for the future:
  Include noisy data in training + perform data augmentation on input batch for robustness
  Make the network Bayesian to move away from point estimate based predictions  Error bounds on prediction
  Input Priors
Conclusions

## Slide 32
Background – From sample/instrument
  Flat rate
Noise – From counting statistics
  Experiment duration
Can apply both separately (variable)
(Adding noise and background)

## Slide 33
Example Data
X-layer sample
1st Layer Depth | 1st Layer SLD | 2nd Layer Depth | 2nd Layer SLD
t1 | SLD1 | t2 | SLD2
After the noise and background, we can:
Convert to RQ^4 (remove Fresnel decay)
Convert to .npy
Normalise (globally)

## Slide 34
The modelling question
Using this reflectivity profile:
Predict these four values:

## Slide 35
Data Representation
How do we "represent" our simulated values?
A list of x,y coordinates, interpolated to the same N: "raw" (300, 2)
A list of reflectivity values, interpolated to the same Q (and thus N): "interpolated" (300, 1)
An image of the reflectivity plot: "image" (300, 300, 1)

## Slide 36
Models
DNN
CNN

## Slide 37
Model hyperparameters
ReLu (Recitifed Linear Unit) activations on all layers except output
Mean squared error loss
Linear output function (4 output neurons)
Adam optimiser, starting with learning rate of 0.001
Batch size = 1
100 epochs as default

## Slide 38
CNN
DNN
Adding two-layer samples
Training, validation, and test data is a 50:50 split of one:two- layer samples
Each dataset is shuffled