## Slide 1
The H1-H2 guide system

## Slide 2
43 user instruments at ILL
12 horizontal beam tubes for neutron extraction
Neutron extraction from the reactor

## Slide 3
43 user instruments at ILL
12 horizontal beam tubes
Zirkaloy or aluminum
Two are used for neutron guides:
  H1-H2 for ILL 7
  H5 for ILL 22
Neutron extraction from the reactor
H1-H2
H5

## Slide 4
H1-H2:
  22 Instruments
  5 technical positions
H5:
  8 Instruments
ILL guide systems: H1-H2 and H5
H5  ILL 22
H1-H2  ILL 7
H1-H2 works

## Slide 5
1 - Inpile part: ~3.5m inside the reactor core
2 - Swimming pool part: ~6m to get inside the casemate
3 - Reactor wall part: seismic reinforcments
3 areas of work for H1-H2
1
2
3

## Slide 6
H1-H2 dismounting – 2.5 months

## Slide 7
H1-H2 dismounting – 2.5 months

## Slide 8
H1-H2 dismounting – 2.5 months

## Slide 9
H1-H2 dismounting – 2.5 months

## Slide 10
H1-H2 dismounting – 2.5 months
Guides were in good condition!

## Slide 11
1 - Inpile part: ~3.5m inside the reactor core
2 - Swimming pool part: ~6m to get inside the casemate
3 - Reactor wall part: seismic reinforcments
3 areas of work for H1-H2
1
2
3

## Slide 12
Reactor wall = 3rd barrier
2005:
Membrane
Seismic proof housing
Concrete
Steel
Outside world
Casemate might fall on membrane
Second housing is not anti-seismic
Casemate might fall on housing
Reactor building
Ring space
Non seismic proof housing

## Slide 13
Reactor wall = 3rd barrier
Comparison of 2005 and 2018 solutions
2005:
Membrane
Concrete
Steel
Outside world
2023:
Membrane
10cm
10cm
Seismic proof housing
Non seismic proof housing
Non seismic proof housing
Seismic proof housings
Reactor building
Ring space

## Slide 14
Housings are now modified to comply to seismic regulation
Surrounding casemates still have to be adapted  previewed for 2024/25
Reactor wall = 3rd barrier = no science gain

## Slide 15
1 - Inpile part: ~3.5m inside the reactor core
2 - Swimming pool part: ~6m to get inside the casemate
3 - Reactor wall part: seismic reinforcments
3 areas of work for H1-H2
1
2
3

## Slide 16
Biggest aluminum beam tube
Has to be regularly exchanged (~15 years)
Long and tedious work for reactor and guide teams
Opportunity to adapt guide system
The H1-H2 beam tube

## Slide 17
Pink housing
Upper guides: cold H1 guides
Lower guides: thermal H2 guides
Guides are slid into the beam tube
Guides are made of Boron-free Floatglass  long lifetime
The inpile part

## Slide 18
H1-H2 guides since 2006
Millennium program
H23
H21
H25
H24
H22
H14
H16
H112
H113
H15
H18
H17
Upgrade to m=2 in pile
New H112 guide (finalized in 2010)
H17 guide: 200×80mm²
H14, H15, H23 and H24: 200×45mm²

## Slide 19
Guide changes in H1/H2 in 2023
Endurance program
H23
H21
H25
H24
H22
H14
H16
H112
H113
H15
H18
H17
H21: guide is not renewed
Endurance guides:
  H24: 200×45  200×60, m=2  m=3
  H15: 200×45  200×70, m=2  m=3
“Upgrade”:
  H17 m=3
  H18 m=1  m=2 on side walls
  H23 m=3 on all walls
Correction of vertical filling:
  H112: m=2  m=2.5 on top/bottom
  H14: m=2  m=2.3 on top/bottom
Please note: only H24 and H15 change their geometry!

## Slide 20
The new Pink housing

## Slide 21
The new Pink housing
Challenge: Get the guides at the right height!

## Slide 22
1 - Inpile part: ~3.5m inside the reactor core
2 - Swimming pool part: ~6m to get inside the casemate
3 - Reactor wall part: seismic reinforcments
3 areas of work for H1-H2
1
2
3

## Slide 23
Guides are installed in aluminum housings
33 different vacuum tests to be validated
Work under a lot of pressure  right on the critical path
Guides are made from N-BK7 instead of N-ZK7  increased lifetime expected
Swimming Pool part

## Slide 24
Remounting of casemate installations
And then all casemate guides …

## Slide 25
Result of exchange – H15 and H24
H24 and H15 projects can be realized (see talks of B. Giroud and Ch. Dewhurst)
D10
IN13
XtremeD

## Slide 26
Flux measurments
Passage m=2
Degradation
Initial flux re-established

## Slide 27
H2 guides
H25m=2
H22m=2
2023
Problem with H25 flux  under examination

## Slide 28
H15 guide
Passage to m=3 + new geometry
Source insert
2006
2006
Degradation

## Slide 29
All guides have gained in flux in ILL 5 (~20% or more) with the exception of H25 (problem?)
Almost all guides have changed their coating and/or their geometry in the last 30 years  long term observation is difficult
New guides have a significant leap to higher flux as expected in ILL 5  see talks of Benjamin and Charles for ILL 7
Result of flux measurment

## Slide 30
H1-H2 guide system start has been successfully replaced
Reactor wall guides are conform to seismic demands
H15 and H24 projects can now receive neutrons as previewed
The 2005 fluxes have been recovered and are expected to remain stable for the next 10-15 years
Summary