## Slide 1
INSTITUT LAUE LANGEVIN – THE EUROPEAN NEUTRON SOURCE
ENDURANCE
Innovative Neutron Guide Replacements at ILL: H16, H24, H15
Charles Dewhurst, B. Giroud, G. Manzin, J. Beaucour

## Slide 2: Instruments in User Program – ILL 7 Guide Hall
IN5
D11
D007
FIGARO
D17
D33
PF1b
IN16b
D10+
DALI
LADI
SALSA
FIPPS
IN12
D1b
SHARP+
SAM
IN22
D23
S18
IN13
XtremeD
ILL Instruments
CRG Instruments ENDURANCE

## Slide 3: Instruments in User Program – ILL 7 Guide Hall
IN5
D11
D007
FIGARO
D17
D33
PF1b
IN16b
D10+
DALI
LADI
SALSA
FIPPS
IN12
D1b
SHARP+
SAM
IN22
D23
S18
IN13
XtremeD
ILL Instruments
CRG Instruments ENDURANCE
H24 guide
H15 guide
H16 guide
H141 guide
H112 guide

## Slide 4
Cold-neutron TOF spectrometer
Massive upgrade in Millennium programme (2005)
  Large PSD detector, choppers & linear converging guide
Guide upgraded again in Endurance programme (2019)
IN5 – H16:
Cold-neutron TOF spectrometer

## Slide 5
Decreased spatial filling -> increased divergence
Correlation between position & divergence
Abrupt guide angle change at entrance
Need a ‘long’ guide for complete transformation
No focussing
IN5 – H16:
Cold-neutron TOF spectrometer
Old H16 guide: Curved, m=1, 30 x 200 mm
Old IN5 converging guide (2005):
  x: 30 mm -> 14 mm, m = 1 -> m = 2
  y: 200 mm -> 53 mm, m = 1 -> m = 3

## Slide 6
Old H16 guide: Curved, m=1, 30 x 200 mm
Old IN5 converging guide (2005):
  x: 30 mm -> 14 mm, m = 1 -> m = 2
  y: 200 mm -> 53 mm, m = 1 -> m = 3
Decreased spatial filling -> increased divergence
Correlation between position & divergence
Abrupt guide angle change at entrance
Need a ‘long’ guide for complete transformation
No focussing
IN5 – H16:
Cold-neutron TOF spectrometer

## Slide 7
150 mm
15 m
50 mm
Decreased spatial filling & increased divergence
Strong correlation between position & divergence determined by exit tangents
Correlation between position & divergence
No abrupt guide angle change at entrance
High m coatings
Don’t even need all available guide!
New H16 guide: Curved m=2, 30 x 200 mm
New IN5 converging guide:
  x: 30 mm -> 15 mm, m = 2 -> m > 2
  y: 150 mm -> 50 mm, m = 2 -> m = 6
IN5 – H16:
Cold-neutron TOF spectrometer

## Slide 8
New H16 guide: Curved m=2, 30 x 200 mm
New IN5 converging guide:
  x: 30 mm -> 15 mm, m = 1 -> m > 2
  y: 150 mm -> 50 mm, m = 1 -> m = 6
Decreased spatial filling & increased divergence
Strong correlation between position & divergence determined by exit tangents
Correlation between position & divergence
No abrupt guide angle change at entrance
High m coatings
Don’t even need all available guide!
150 mm
15 m
50 mm
IN5 – H16:
Cold-neutron TOF spectrometer

## Slide 9
Flux gain vs wavelength
J. Ollivier et al. J. Neutron Research 20, 123 (2019)
IN5 – H16:
Cold-neutron TOF spectrometer
150 mm
15 m
50 mm
Cold-neutron TOF spectrometer
Guide upgraded again in Endurance programme (2019)
New double elliptically focussing guide
Best use of phase space; huge gains in intensity – in particular at short wavelengths; focussing onto much smaller samples.

## Slide 10: H24 thermal-neutron guide + instruments: D10+, IN13+, XtremeD, CT2, FIPPS
H24 Instrument layout
D10+
IN13
XtremeD
CT2
FIPPS
Dedicated end-of-guide positions for all instruments with m = 2 divergence
Common-curved-trumpet design exploiting two radii of curvature expanding the guide over 22 m
Split into two branches H241 (R = 14000 m), H242 (R=8000 m)

## Slide 11: H24 thermal-neutron guide + instruments: D10+, IN13+, XtremeD, CT2, FIPPS
Dedicated end-of-guide positions for all instruments with m = 2 divergence
Common-curved-trumpet design exploiting two radii of curvature expanding the guide over 22 m
Split into two branches H241 (R = 14000 m), H242 (R=8000 m)

## Slide 12: H24 thermal-neutron guide + instruments: D10+, IN13+, XtremeD, CT2, FIPPS
Enlarged spatial filling & reduced divergence
Correlation between position & divergence:
Centred on exit tangent at extremities
Abrupt guide angle change at entrance & possible 'blind spot'
Incomplete phase-space transformation

## Slide 13: Endurance Instruments H24 thermal-neutron guide + instruments: D10+, IN13+, XtremeD, CT2, FIPPS
@ 1 Å
Neutrons preferentially on the outer walls – both branches
Guides not fully filled
Divergence missing on the inner walls
Required incoming divergence, m = 3

## Slide 14: Endurance Instruments H24 thermal-neutron guide + instruments: D10+, IN13+, XtremeD, CT2, FIPPS
@ 2 Å ->
Both branches fully filled up to m = 2 divergence
Requires incoming source divergence m = 2.6

## Slide 15
Double-faced Cu / HOPG monochromator
Endurance Instruments D10+: thermal single-crystal diffractometer – Commissioned & in user operation
Overall gains in performance of more than x10
  x 3.3 flux in guide
  x 6.6 flux on sample @ 1.2 Å
  x 1.8 detector efficiency
B. Ouladdiaf, N. Katcho, P. Decarpentrie

## Slide 16: Endurance Instruments H15 cold-neutron guide + instruments: T3, D(00)7, D11+, SAM, SHARP+
Vercors side instrument layout
SHARP+
D11
D(00)7
T3
SAM
Dedicated end-of-guide positions for all instruments with optimised divergence
Highly complex guide – both optically and engineering
optimised end-of-guide positions with dedicated optics for new instrumentation: T3, D(00)7, D11, SHARP+, SAM

## Slide 17: Endurance Instruments H15 cold-neutron guide + instruments: T3, D(00)7, D11+, SAM, SHARP+
H15
D11
RAMSES
D7+
GAPS
T3
X
SAM
Plan A
Seven dedicated end-of-guide positions from a single H15 source guide!
It is possible, but how?
This is crazy! (i.e. extremely expensive and highly complex)

## Slide 18: Endurance Instruments H15 cold-neutron guide + instruments: T3, D(00)7, D11+, SAM, SHARP+
Seven dedicated end-of-guide positions from a single H15 source guide!
It is possible, but how?
This is crazy! (i.e. extremely expensive and highly complex)
Notes: As you can see from the 'simulation trace' of the H15 guide geometry it is an extremely complicated guide - both optically and in terms of engineering.
Again, the idea is to take what was a simple single neutron guide and split it into many high performance individual guide branches.
That way each instrument can optimise its guide and end-of-guide optics.
e.g.
SANS - fairly simple m=1 small guide requirements
BUT
spectrometers like D007 and SHARP+ will have large, m=2 guide cross-sections and will use focussing guide optics to fully optimise the instruments,

## Slide 19: Endurance Instruments H15 cold-neutron guide + instruments: T3, D(00)7, D11+, SAM, SHARP+
Enlarged spatial filling & reduced divergence
Correlation between position & divergence:
Centred on exit tangent at extremities
Abrupt guide angle change at entrance & possible 'blind spot'
Incomplete phase-space transformation
Notes: As you can see from the 'simulation trace' of the H15 guide geometry it is an extremely complicated guide - both optically and in terms of engineering.
Again, the idea is to take what was a simple single neutron guide and split it into many high performance individual guide branches.
That way each instrument can optimise its guide and end-of-guide optics.
e.g.
SANS - fairly simple m=1 small guide requirements
BUT
spectrometers like D007 and SHARP+ will have large, m=2 guide cross-sections and will use focussing guide optics to fully optimise the instruments,

## Slide 20: Endurance Instruments H15 cold-neutron guide + instruments: T3, D(00)7, D11+, SAM, SHARP+
Enlarged spatial filling & reduced divergence
Enhanced correlation between position & divergence determined by exit tangents
Phase space not fractured
Notes: As you can see from the 'simulation trace' of the H15 guide geometry it is an extremely complicated guide - both optically and in terms of engineering.
Again, the idea is to take what was a simple single neutron guide and split it into many high performance individual guide branches.
That way each instrument can optimise its guide and end-of-guide optics.
e.g.
SANS - fairly simple m=1 small guide requirements
BUT
spectrometers like D007 and SHARP+ will have large, m=2 guide cross-sections and will use focussing guide optics to fully optimise the instruments,

## Slide 21: Endurance Instruments H15 cold-neutron guide + instruments: T3, D(00)7, D11+, SAM, SHARP+
H15 Monte-Carlo simulations
Enhanced correlation between position & divergence determined by exit tangents
Position guide branches centred on phase-space

## Slide 22: Endurance Instruments H15 cold-neutron guide + instruments: T3, D(00)7, D11+, SAM, SHARP+
Plan B: ‘Simplified’ multi-branch H15 guide
  Drop GAPS & Instrument X
  opposing-curved ‘trumpet’ (m=4) spatially expands the guide to to split into multiple branches
Engineering more reasonable but still highly complex
Financially more reasonable …..but still extremely expensive ~ 11 M€ ….guide only
Optimised end-of-guide positions & dedicated optics for new instrumentation: T3, D(00)7, D11, SHARP+, SAM
100 m
2 m
H15
Trumpet
T3
D(00)7
D11
SHARP+
SAM
Primary guide split
Deflector D11
Curved guide
Curved guide
Elliptical focussing
D11 collimation
Polarising deflector
D007 / T3
Curved converging guide

## Slide 23: Endurance Instruments H15 cold-neutron guide + instruments: T3, D(00)7, D11+, SAM, SHARP+
H15 guide installation continues during 2023
commissioning during 1st half 2024; project proceeds as planned
March 2023
C. Dewhurst, B. Giroud, G. Manzin, J. Beaucour
Notes: As I said: As of now, and as planned, mid-way though construction and due to be completed by the second half of 2024.
On the left you can see:
- D33,
- detector tube for SAM recently delivered
- relocated D11 detector tube in its new final position
- secondary spectrometer for SHARP+
Work continues in the guide hall on the mounting of the new H15 instruments and 'out-of-casemat' guide components during the reactor cycles of 2023

## Slide 24: H15 Endurance Instruments D007: permanently-polarized diffuse-scattering diffractometer and spectrometer
new primary spectrometer with a dedicated guide
in-guide polarizing deflector
large focussing monochromator
evacuated flight path
expected flux gain > x10 D7
will allow for polarisation-analysis TOF spectroscopy
magnetic dynamics
quasielastic scattering
A. Wildes, L. Mangin-Thro, G. Manzin
Notes: D007
When relocated onto the new H15 guide
- fully renewed primary spectrometer
- mostly renewed secondary spectrometer - including new PSD detectors
D007 should expect more than an order of magnitude in flux
This is very important because despite D007 being primarily a polarisation / analysis diffuse diffractometer with its chopper system it can also act as a spectrometer.
- the order of magnitudue in flux now makes polarisation / analysis spectroscopic studies realistic
- entirely unique at ILL
- But highly complimentary with the polarisation / analysis options such as PASTIS3 being installed on spectrometers such as IN20 and PANTHER.

## Slide 25: Endurance: Neutron Guides
thank you for your attention
H16 (IN5) - double elliptic focusing (2019)
H24 (D10+, IN13, XTREMD, CT2, FIPPS) - common curved trumpet (2023)
H112 (IN16b) - variable focusing guide (2023)
H15 (T3, D007, D11, SAM, SHARP) - opposing curved trumpet (2024)
….with the associated gains on our instrument suite ~ x10
Notes: D007
When relocated onto the new H15 guide
- fully renewed primary spectrometer
- mostly renewed secondary spectrometer - including new PSD detectors
D007 should expect more than an order of magnitude in flux
This is very important because despite D007 being primarily a polarisation / analysis diffuse diffractometer with its chopper system it can also act as a spectrometer.
- the order of magnitudue in flux now makes polarisation / analysis spectroscopic studies realistic
- entirely unique at ILL
- But highly complimentary with the polarisation / analysis options such as PASTIS3 being installed on spectrometers such as IN20 and PANTHER.