## Slide 1: Fission with PARIS @ VAMOS
MichaŁ CiemaŁa
IFJ PAN, Kraków
12/03/2026, Chamrousse, France, Fission 2026

## Slide 2
What do we talk about?
>
>
 Potential Energy
Landscape (mainly CN)
A1,2, Z1,2,
Ekin1,2 , E*1,2 , L1,2
A1,2 , Z1,2
Ekin1,2 , E*1,2 , L1,2
Primary fragments
PEL (mainly fragment shell effects)
Dynamics (inertia, friction)
Generation of E* and L and sharing at scission
Gradual elongation of a nucleus up to scission in two fragments
Re-arrangement of a many-body quantum system of protons and neutrons
 (10-21 - 10-18 s)
Ground state
Saddle point
Radioactive
decay (e.g.  )
 (ms - s)
A1’, Z1’, E 1 kin’
A2, Z2 , E2 kin,’
Secondary fragments
n

 (10-19 - 10-12 s)
n

Nuclear Level Density
 Strength Function
PARIS@VAMOS

## Slide 3
How to probe fission? What are “good” signatures?
Various and many observables:
- fission cross sections/probabilities
- fragment A, Z, and Total Kinetic Energy distributions
- fragment anisotropy
- fragment isomeric ratios
- multiplicity, energy and angular, inclusive and exclusive,
distributions of the promptly emitted neutrons and -rays
- multiplicity and energy of delayed neutrons and -ray
- …
„Fragment A and Z yields”
Prompt -ray spectrum
T
O
D
A
Y
Crucial developments in
detection and computing
“Shaking” decades
of knowledge!

## Slide 4
 Depends on the dynamics of fission:
Depends on fundamental nuclear properties:
Generation of E* and L in fission
Sharing at scission
Nuclear level density
 strength function
Prompt de-excitation of the fragments after scission
De-excitation of a fission fragment after scission
Complete
Fission
ExpEriments
Measurement of the properties of
the prompt neutrons and  rays in
coincidence with fragment (A, Z)
Reconstruct the de-excitation path
Deduce the primary fragment E* and L

## Slide 5
Experimental approach and Set Up at GANIL
VAMOS++
target
Ff1
Ff2
beam
Apost, Z,
PARIS
8 clusters
PFGS,
Esum, M ,
Mn
 Accurate Ff’s (A, Z, v, TKE)
 PFGS and properties (Esum, M )
 Neutron multiplicity
event
by
event
238U + 9Be 247Cm* (E*~ 43MeV)
(5.88MeV/u) (500g/cm2)
Ff1
Ff2


Fusion-fission in inverse kinematics
Exogam

## Slide 6: PARIS array properties
Good energy resolution for low and high energy g-rays
  35 keV @ 1.332 MeV
Excellent Time resolution (below  1 ns)
Measurement of  multiplicity from frontal LaBr3 or CeBr3
Large efficiency for high energy g-rays ( 5% at 10 MeV for 8 clusters)
72 phoswiches in 8 clusters
72 LaBr3:Ce or CeBre 2”x2” crystals in 8 clusters
 28 liters of NaI in 8 clusters
Previous use of PARIS in PFGS/PFNS:
E. Kozulin et al., Eur. Phys. J A 56 (2020) 6
E. Vardaci et al., Phys. Rev. C 101 (2020) 064612
L. Qi et al., Eur. Phys. J A 56 (2020) 98

## Slide 7: N, Z, identification VAMOS++ spectrometer
Detected post-neutron mass spectrum
The resolution achieved in the present experiment was 1/200 in mass and 1/68 in charge.

## Slide 8
Available data set:
 ~ 500 PFGS (Z,N) tagged in VAMOS++
 M , <E >, Esum
 Exponential tail = f (NLD, T)
Towards a complete measurement with PARIS@VAMOS++
P R E L I M I N A R Y
 fold in PARIS vs. (Z,N) in VAMOS++
 Neutrons
238U + 9Be 247Cm*
Prompt Fission  Spectrum in PARIS
Fragment (Z,N) in VAMOS++

## Slide 9
A singular phenomenon: The fission “  bump ”
1980’s: Evidence of an excess
of ’s at high E for some splits
Holtzel et al., Z Phys. (1996)
252Cf (sf)
2019 onwards:  bump profile
Francheteau et al., PRC (2025)
Need of A and Z
identification of the emitter
Early 2025: Heated debate about origin
Structural? Statistical?
Collective or Single-particle nature?
Due to n (N~68,82) and/or p (Z~40,50)?
HIGHER SENSIVITY
VAMOS++ + PARIS

## Slide 10
Neutron/ discrimination
Dynamical range covered by the measured  spectrum

## Slide 11
Energy resolution and Add back
Energy resolution: ~30 keV around 1.2 MeV, ~50 keV around 2.7 MeV.
Cluster of phoswiches “advantage”
Addback: Summing of Energy deposits inside PARIS cluster

## Slide 12
Pygmy “strength” … in fission: Isotopic mapping of the  bump with PARIS @ VAMOS++

## Slide 13
N,Z gated  properties – PFGS, origin: distributions
Current VAMOS++ + PARIS setup cannot separate γ-rays originating from the two fission fragments.
Spectra labeled with charge Z include contributions from both the detected fragment (Z)
and its complementary partner (ZFS​−Z).
Detected Z=52 contains γ-rays from partners Z=44, 42, 40 (from Cm, Pu, and U fission).
Detected Z=42 contains γ-rays from partners Z=54, 52, 50.
The "bump" intensity peak is distributed over a wider range of Z values on the light
fragment side compared to the heavy fragment side.
The γ-bump originates from the heavy fragments.

## Slide 14
N,Z gated  properties – PFGS, origin: Doppler
a) and b): PFGS for 134Te in VAMOS++, in the low and higher E range.
Red and black refer to the spectrum defined as forward and backward, respectively. Blue arrows show transitions from 134Te, while green points the region characteristic of the light partners.
c) and d): Same for 104Mo in VAMOS++. Green arrows show transitions from 104Mo.
Conclusion: Emission from heavy partner

## Slide 15
Isotopic mapping of the  bump with PARIS @ VAMOS++
 Delimitation of the  bump island on the fission population:
50  Z  53 and 78  N  83
 Double-humped profile for N~ 82
Z=
Z-gated PFGS
(Z, N)-gated PFGS

## Slide 16
Origin of the  bump
Dedicated (fission+fragment deexcitation) calculations with the FIFRELIN code using
microscopic nuclear level densities (D1M) and  strength functions (D1M+QRPA)
Fission populates states in the low-energy tail of the Giant Dipole Resonance between ~ 5 and 10 MeV
! PYGMY RESONANCE !
Two-fold impact:
 Insight into the post-scission dynamics of the fragments
 Insight into the nature of « Pygmy states »
Fission and Soft/Giant Resonances
physics
 Main contribution due to the decay from E1 states
Total E1
M1
 Both IsoScalar (IS) and Isovector (IV) nature
 IS component enhanced at N~82 due to vibration
of the « stiff » neutron skin about the core
Calculated PFGS
R
R
Calculations by S. Péru (2025)
Neeraj Kumar, C.Schmitt, M. C., A. Maj, et al., submitted (2026)
with O. Litaize, S. Péru

## Slide 17: Summary
Unique dataset for the PFGS together with isotopically identified fission fragments was collected during experiment at GANIL with use of coupled VAMOS++ and PARIS.
Scanning of the " -bump" for entire fission fragment production and identification of its emitters in Z and N in the model-independent way was achieved for the first time.
Its existence was predominantly attributed to the proton composition of the fragment near the Z = 50 shell closure, whereas its characteristics were influenced by the proximity to the N = 82 neutron shell.
For entry point for the nuclei is at lower L around Z = 50 and N = 82, we see high energy structures in the -ray spectrum which may be interpret as PDR -ray decay E1 type.
Fission process can be another probe to investigate hard to reach neutron rich nuclides (otherwise accessible with huge difficulties with radioactive beams).

## Slide 18: Acknowledgements
Christelle Schmitt, M.C., Neeraj Kumar,
Piotr Bednarczyk, Sergio Brambilla, Manuel Caamano, Stefana Calinescu, Abdelhazize Chebboubi, Emmanuel Clement, Dominique Curien, Olivier Dorvaux, Gilles De France, François Didierjean, Gilbert Duchêne, Alain Goasduff, Iulia Harca, Yung Hee Kim, Grégoire Kessedjian, Maria Kmiecik, Antoine Lemasson, Silvia Leoni, Marek Lewitowicz, Olivier Litaize, Adam Maj, Iolanda Matea, Katarzyna Mazurek, Alahari Navin, Andreas Oberstedt, Stephan Oberstedt, Piot Julien, Diego Ramos, Maurycy Rejmund, Mihail Stanoiu, Louise Stuttge
and VAMOS, PARIS, EXOGAM collaborations

## Slide 19: Backup

## Slide 20
Pygmy “selective” population in fission

## Slide 21
Consistency with other observables

## Slide 22: 120Cd example FF discrete gamma and FOLD equivalance
E in EXOGAM [keV]
2+ →g.s.
4+ →2+
6+ →4+
DC, 120Cd gated
FF120Cd gated <FOLDPARIS> = 2.66(1)
FF120Cd &&FF1 L≥2 < FOLDPARIS > = 2.94(1)
FF120Cd &&FF1 L≥4 < FOLDPARIS > = 3.07(1)
FF120Cd &&FF1 L≥6 < FOLDPARIS > = 3.31(1)

## Slide 23
Prompt fission gamma-rays (PFGS)
252Cf fission revisited - new insights into the fission process
Non-statistical high energy gamma's
"These high-energy tails exhibit a marked dependence on fragment mass."
Detectors: NaI, Crystall Ball
P. Glässel, et al., Nuclear Physics A, 502, 1989, 315.

## Slide 24: Prompt fission gamma-rays (PFGS)
H. Makii, et al., Phys. Rev. C 100 (2019) 044610.
Effects of the nuclear structure of fission fragments on the high-energy prompt fission 𝛾-ray spectrum in 235U(n,f)
Makii et al., conclude that the bump at around 4MeV is created by the transitions between the discrete levels in the fragments around 132Sn, and the bump at around 6MeV mostly comes from the complementary light fragments.
Detectors: LaBr3

## Slide 25
A. Francheteau, et al., Phys. Rev. C 111, 034608, march 2025
Origin of the high-energy structures in the prompt-fission 𝛾-ray spectrum of 252Cf
Prompt fission gamma-rays (PFGS)
"Enhanced production of prompt 𝛾 rays peaked at 4 and 6 MeV in the mass region of fission fragments around 132Sn is a known phenomenon for 30 years. Various contradictory interpretations of their origin can be found in the literature: either discrete or statistical 𝛾 rays originating from the light or heavy fragment."
Conclusion:
"From the study of the photon emission probability we interpret these structures as arising from the competition between the “strength-driven” decay of the heavy fragments and the “density-driven” decay of the light fragments."
Detectors: NaI

## Slide 26: PARIS add-back
Summing of Energy deposits inside PARIS cluster
132Sn
3(-) -> g.s.
2+ -> g.s.

## Slide 27
FIFRELIN code calculations, entry point
CALC
Mean FOLD, EXP

## Slide 28: 120Cd example FF discrete gamma and FOLD equivalance
E in EXOGAM [keV]
2+ →g.s.
4+ →2+
6+ →4+
DC, 120Cd gated
FF120Cd gated <FOLDPARIS> = 2.66(1)
FF120Cd &&FF1 L≥2 < FOLDPARIS > = 2.94(1)
FF120Cd &&FF1 L≥4 < FOLDPARIS > = 3.07(1)
FF120Cd &&FF1 L≥6 < FOLDPARIS > = 3.31(1)

## Slide 29
FIFRELIN code calculations, PFGS
EXP
CALC

## Slide 30: Z and A gated  properties – FOLD of PFGS, 247Cm*
Z gated
A gated
FOLD
FOLD → gamma multiplicity → summ of fission fragment L1 and L2
FOLD

## Slide 31: Z gated neutron properties – FOLD of PFNS, 247Cm*
FOLD

## Slide 32: A gated  properties – FOLD of PFGS, 247Cm*
FOLD

## Slide 33: A gated neutron properties – FOLD of PFNS, 247Cm*
FOLD

## Slide 34
Isotopic identification in VAMOS++
Prompt  spectrum in PARIS
98Zr
104Mo
104Mo
after tuned callibration after stability tune based on 511 keV line
98Zr
after stability tune
1223 keV
before stability tune

## Slide 35: Gamma GDR Decay prompt gated
Statistical gamma
background
gamma GDR decay
Use of the statistical model codes like
CASCADE, GEMINI++ make possibility to
extract fission time scale.
Methods described by example in:
R. Butsch, et al., Phys. Rev. C 44 (1991), 1515-1527.
G. van't Hof, et al. Nucl. Phys. A 638 (1998) 613-661.